BILL OF QUANTITY FOR REPLACEMENT OF 5 300KVA 33/0.415KV TRANSFORMER WITH 300KVA 11/0.415KV TRANSFORMERS AND REHABILITATION OF THE SUBSTATIONS:

MATERIAL COST 			-	N64,968,000

TRANSPORTATION 			-	N1,500,000

Civil work 				-	N3,500,000

INSTALLATION 			-	N5,000,000

PRECOMMISSIONING TEST 	-	N1,000,000

GRAND TOTAL 				-	N75,968,000

BACK OF TOBISCO SUBSTATION 9 X 5 = 45

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N) |
| --- | --- | --- | --- | --- | --- |
|  | 300KVA 11/0.415kv transformer | 1 | No | 8,500,000 | 8,500,000 |
|  | Gang isolator 11kv | 1 | Set | 350,000 | 350,000 |
|  | 11kv D-fuse | 1 | Set | 110,000 | 110,000 |
|  | 800amps feeder pillar | 1 | No | 800,000 | 800,000 |
|  | 300mm2 x 1C Armored cable | 24 | M | 75,000 | 1,800,000 |
|  | 95mm2 x 4c armored cable | 30 | M | 90,000 | 2,700,000 |
|  | 11kv lightening arrester | 1 | Set | 60,000 | 60,000 |
|  | 70mm bare copper | 80 | M | 15,000 | 1,200,000 |
|  | 300mm2 cable lug | 8 | Nos | 12,000 | 96,000 |
|  | 95mm2 cable lug | 8 | Nos | 2000 | 16,000 |
|  | 22mm heavy duty earth rod | 14 | Nos | 15,000 | 210,000 |
|  | Bimetallic Line Tap | 12 | Pcs | 5000 | 60,000 |
|  | 70mm cable lug | 20 | Pcs | 1500 | 30,000 |
|  | 5Amps J and P fuse | 3 | Nos | 5000 | 15,000 |
|  | 70 mm insulated copper wire | 21 | M | 17,000 | 357,000 |
|  | Square washers | 40 | Pcs | 500 | 20,000 |
|  | Animal dung and charcoal | 8 | Bags | 20,000 | 160,000 |
|  | 4” galvanized pipe | 4 | Nos | 35,000 | 140,000 |
|  | 9 Feet Channel Iron | 5 | Nos | 35,000 | 175,000 |
|  | Bolt and Nut | 1/2 | Bag | 75,000 | 75,000 |
|  | TOTAL |  |  |  | 16,874,000 |

ENGR ENWEGBARA SUB-STATION

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N) |
| --- | --- | --- | --- | --- | --- |
|  | 300kva, 11/0.415kv Transformer | 1 | No | 8,500,0000 | 8,500,0000 |
|  | 11kv lightening arrester | 1 | Set | 60,000 | 60,000 |
|  | Operating rod | 1 | Nos | 50,000 | 50,000 |
|  | 70mm bare copper wire | 40 | M | 15,000 | 600,000 |
|  | 22mm heavy duty earth rod | 9 | No | 15,000 | 135,000 |
|  | Animal dung and charcoal | 6 | Bag | 20,000 | 120,000 |
|  | Bimetallic line tap | 8 | Pcs | 5000 | 40,000 |
|  | Rapid rupture fuses 400amps | 8 | Pcs | 20,000 | 160,000 |
|  | 4” galvanized pipe | 4 | Sets | 50,000 | 140,000 |
|  | TOTAL |  |  |  | 9,805,000 |

UMUABANIHI SUBSTATION

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N) |
| --- | --- | --- | --- | --- | --- |
|  | 11kv D-Fuse | 1 | Set | 110,000 | 110,000 |
|  | 11kv lightening arrester | 1 | Set | 60,000 | 60,000 |
|  | 95mm2 x 4c Armoured cable | 30 | M | 90,000 | 2,700,000 |
|  | 300kva, 11/0.415kv | 1 | No | 8,500,000 | 8,500,000 |
|  | 95mm2 cable lug | 8 | Pcs | 2,000 | 16,000 |
|  | 70mm2 bare copper wire | 40 | M | 15,000 | 600,000 |
|  | 70mm cable lug | 20 | Pcs | 1,500 | 30,000 |
|  | 300mm x 1 core | 24 | M | 75,00 | 1,800,000 |
|  | 300mm cable lug | 8 | Pcs | 12,000 | 96,000 |
|  | 4” galvanized pipe | 4 | Length | 35,000 | 140,000 |
|  | 22mm galvanized earth rod | 5 | Nos | 15,000 | 135,000 |
|  | Animal dung and charcoal | 6 | Bags | 20,000 | 120,000 |
|  | TOTAL |  |  |  | 14,307,000 |

AKPAKA/AKWA EZIRENYI SUBSTATION

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N) |
| --- | --- | --- | --- | --- | --- |
|  | 300KVA 11/0.415kv transformer | 1 | No | 8,500,000 | 8,500,000 |
|  | Earth rod 22mm | 9 | Pcs | 15,000 | 135,000 |
|  | 70mm bare copper | 40 | M | 15,000 | 600,000 |
|  | 70mm cable lug | 10 | Pcs | 1,500 | 15,000 |
|  | Animal dung and charcoal | 6 | Bags | 20,000 | 120,000 |
|  | 400amps fuses | 12 | Pcs | 20000 | 240,000 |
|  | Standard J and P Fuse | 3 | Nos | 5,000 | 15,000 |
|  | TOTAL |  |  |  | 9,625,000 |

UMUNNAGHA SUBSTATION

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N) |
| --- | --- | --- | --- | --- | --- |
|  | 300kva, 11/0.415kv Transformer | 1 | No | 8,500,000 | 8,500,000 |
|  | 95mm x 4 core Animal cable | 30 | M | 90,000 | 2,700,000 |
|  | 27mm heavy duty earth rod | 9 | Nos | 15,000 | 135,000 |
|  | 70mm Bare copper wire | 40 | M | 15,000 | 600,000 |
|  | 70mm cable lug | 10 | Pcs | 1,500 | 15,000 |
|  | 95mm cable lug | 8 | Pcs | 2,000 | 16,000 |
|  | 300mm2 X 1 core Cable | 24 | M | 75,000 | 1,800,000 |
|  | 11kv lightening arrester | 1 | Set | 60,000 | 60,000 |
|  | Bimetallic line tap | 8 | Pcs | 5,000 | 40,000 |
|  | 4” galvanized pipe | 4 | Length | 35,000 | 140,000 |
|  | 400Amps RR Fuse | 12 | Nos | 20,000 | 240,000 |
|  | standard J and P fuse | 3 | Nos | 5,000 | 15,000 |
|  | 300mm Cable Lug | 8 | Nos | 12,000 | 96,000 |
|  | TOTAL |  |  |  | 14,357,000 |

GENERAL MATERIALS FOR THE 5 SUB STATIONS

| S/N | MATERIAL DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | 300kva transformer 11/0415kv | 5 | No | 8,500,000 | 42,5000,000 |
|  | 800 Amps feeder Pillar | 1 | No | 800,000 | 800,000 |
|  | 95mm2 x 4 core A/Cable | 90 | M | 90,000 | 8,100,000 |
|  | 11kv lightening Arrester | 4 | Set | 60,000 | 240,000 |
|  | 300 mm2 x 1 core cable | 72 | M | 75,000 | 5,400,000 |
|  | 11kv D-fuse | 2 | Set | 110,000 | 220,000 |
|  | 11kv gang isolator | 1 | Set | 350,000 | 350,000 |
|  | 70mm2 x 1 core bare copper | 240 | M | 15000 | 3,600,000 |
|  | 300mm cable lug | 24 | Pcs | 12000 | 288,000 |
|  | 95mm cable lug | 24 | Pcs | 2000 | 48,000 |
|  | 22mm heavy duty earth rod | 50 | Nos | 15,000 | 750,000 |
|  | Bimetallic line tap | 28 | pcs | 5000 | 140,000 |
|  | 70mm insulated copper wire | 21 | M | 17,000 | 357,000 |
|  | 70mm cable lug | 70 | Pic | 1500 | 90,000 |
|  | Animal dung and charcoal | 25 | Bags | 20,000 | 520,000 |
|  | Bolt and nut | 1/2 | Nags | 75,000 | 75,000 |
|  | Channel iron (9ft) | 5 | Nos | 35000 | 175,000 |
|  | Square washers | 40 | Bag | 5,00 | 20,000 |
|  | Set of 5amps and P fuse | 9 | Nos | 5,000 | 45,000 |
|  | 400 amps RR fuse | 32 | Pcs | 20,000 | 640,000 |
|  | 4” galvanized pipe | 16 | nos | 35,000 | 560,000 |
|  | Operating Rod | 1 | No | 50,000 | 50,000 |
|  | TOTAL |  |  |  | 64,968,000 |